## Sheet1
Application: | Step: | Test Description: | Expected result: | Actual result: | Authors | Date for last update | Comments: | Status:
Laser (LRS-150-24) and cable (EX-1309-T) connection test | 1. | Cables from the laser to EX-1309-T when the screws are facing up and to the left where 1 is the top and 5 is the bottom: 1 - green 2 - yellow 3 - gray 4 - pink 5 - blue From EX-1309 1 cable goes from 5 to V- on the LRS-150-24. The red cable goes from the laser to V+ on the LRS-150-24. The USB-A cable in inserted in a USB port on the computer and the test is performed with the sensorTOOL program provided from micro-epsilon. | Connection success | Connection success | Joel Josefsson; Filip Lindhe | 2023-09-11 |  | success
| 2. | One plank with markings from 50mm to 150mm in 10mm spans is used. One other plank is attached at the end of the measuring plank perpendicular to get a straight object to measure on. To get the laser on, the black cable needs to touch the V- on the LRS-150-24. This is only to be done when the laser is steady at one of the measuring distances and NOT when moving the laser. The tests were performed in a safe environment, in a room consisting of only the two people testing the laser. Human errors are defenately a part in the error since the sensor are being moved by hand to a new position. | Can read distance data from computer | Can read distance data from computer | Joel Josefsson; Filip Lindhe | 2023-09-11 |  | success